## Sheet1
Emera Maine System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
average
| Secondary | 0.08829
| Primary | 0.04801
| Sub-Transmission | 0.02307
| Transmission | 0.00761
Weighted Average Loss Factors by Class*
(Based on 2013 Usage)
Medium Class |  | Total Class | SO Only
| % of Class @ Secondary Voltage | 88.42% | 90.74%
| % of Class @ Primary Voltage | 11.58% | 9.26%
|  | 100% | 100%
Medium Class Weighted Average Loss Factor |  | 0.083626 | 0.08456
Large Class |  | Total Class | SO Only
| % of Class @ Secondary | 0% | 0%
| % of Class @ Primary | 42.25% | 4.81%
| % of Class @ Sub-Transmission | 53.28% | 87.71%
| % of Class @ Transmission | 4.47% | 7.48%
|  | 100% | 100%
Large Class Weighted Average Loss Factor |  | 0.032916 | 0.023113
* - Note: All of the Small Class is served at Secondary Voltage
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)

## sources
avg: | 88.42% | 11.58% |  | 90.74% | 9.257%
All |  |  | Std Only
2013-01-01 | 86.79% | 13.2% | 2013-01-01 | 87.56% | 12.49%
2013-01-02 | 86.74% | 13.28% | 2013-01-02 | 87.41% | 12.55%
2013-01-03 | 86.87% | 13.11% | 2013-01-03 | 87.82% | 12.16%
2013-01-04 | 86.87% | 13.11% | 2013-01-04 | 87.82% | 12.16%
2013-01-05 | 86.87% | 13.11% | 2013-01-05 | 87.82% | 12.16%
2013-01-06 | 86.87% | 13.11% | 2013-01-06 | 87.82% | 12.16%
2013-01-07 | 86.98% | 13.01% | 2013-01-07 | 88.59% | 11.46%
2013-01-08 | 86.88% | 13.14% | 2013-01-08 | 88.26% | 11.75%
2013-01-09 | 86.89% | 13.09% | 2013-01-09 | 88.23% | 11.74%
2013-01-10 | 86.98% | 13% | 2013-01-10 | 88.59% | 11.45%
2013-01-11 | 86.98% | 13% | 2013-01-11 | 88.51% | 11.43%
2013-01-12 | 86.98% | 13% | 2013-01-12 | 88.51% | 11.43%
2013-01-13 | 86.96% | 13.07% | 2013-01-13 | 88.45% | 11.5%
2013-01-14 | 86.91% | 13.09% | 2013-01-14 | 88.4% | 11.53%
2013-01-15 | 86.95% | 13.06% | 2013-01-15 | 88.53% | 11.47%
2013-01-16 | 86.8% | 13.19% | 2013-01-16 | 88.55% | 11.5%
2013-01-17 | 86.79% | 13.23% | 2013-01-17 | 88.46% | 11.52%
2013-01-18 | 86.79% | 13.23% | 2013-01-18 | 88.46% | 11.52%
2013-01-19 | 86.79% | 13.23% | 2013-01-19 | 88.41% | 11.54%
2013-01-20 | 86.7% | 13.3% | 2013-01-20 | 88.45% | 11.57%
2013-01-21 | 86.75% | 13.25% | 2013-01-21 | 88.34% | 11.65%
2013-01-22 | 86.75% | 13.23% | 2013-01-22 | 88.34% | 11.64%
2013-01-23 | 87.15% | 12.84% | 2013-01-23 | 88.4% | 11.57%
2013-01-24 | 87.36% | 12.61% | 2013-01-24 | 88.6% | 11.34%
2013-01-25 | 87.36% | 12.61% | 2013-01-25 | 88.6% | 11.34%
2013-01-26 | 87.36% | 12.61% | 2013-01-26 | 88.6% | 11.34%
2013-01-27 | 87.46% | 12.56% | 2013-01-27 | 88.79% | 11.25%
2013-01-28 | 87.47% | 12.55% | 2013-01-28 | 88.81% | 11.23%
2013-01-29 | 87.63% | 12.37% | 2013-01-29 | 89.02% | 10.93%
2013-01-30 | 87.88% | 12.14% | 2013-01-30 | 89.47% | 10.54%
2013-01-31 | 87.85% | 12.15% | 2013-01-31 | 89.53% | 10.5%
2013-02-01 | 87.85% | 12.15% | 2013-02-01 | 89.53% | 10.5%
2013-02-02 | 87.85% | 12.15% | 2013-02-02 | 89.53% | 10.5%
2013-02-03 | 87.9% | 12.09% | 2013-02-03 | 89.62% | 10.31%
2013-02-04 | 88.08% | 11.94% | 2013-02-04 | 89.86% | 10.1%
2013-02-05 | 88.13% | 11.86% | 2013-02-05 | 90.1% | 9.94%
2013-02-06 | 88.22% | 11.77% | 2013-02-06 | 90% | 9.99%
2013-02-07 | 88.39% | 11.59% | 2013-02-07 | 90.3% | 9.67%
2013-02-08 | 88.39% | 11.59% | 2013-02-08 | 90.3% | 9.67%
2013-02-09 | 88.39% | 11.59% | 2013-02-09 | 90.3% | 9.67%
2013-02-10 | 88.35% | 11.62% | 2013-02-10 | 90.18% | 9.78%
2013-02-11 | 88.46% | 11.54% | 2013-02-11 | 90.36% | 9.61%
2013-02-12 | 88.48% | 11.54% | 2013-02-12 | 90.42% | 9.54%
2013-02-13 | 88.51% | 11.5% | 2013-02-13 | 90.66% | 9.38%
2013-02-14 | 88.38% | 11.6% | 2013-02-14 | 90.71% | 9.32%
2013-02-15 | 88.38% | 11.6% | 2013-02-15 | 90.71% | 9.32%
2013-02-16 | 88.38% | 11.6% | 2013-02-16 | 90.71% | 9.32%
2013-02-17 | 88.38% | 11.6% | 2013-02-17 | 90.71% | 9.32%
2013-02-18 | 88.38% | 11.6% | 2013-02-18 | 90.71% | 9.32%
2013-02-19 | 88.55% | 11.43% | 2013-02-19 | 90.99% | 8.98%
2013-02-20 | 88.53% | 11.47% | 2013-02-20 | 90.96% | 9.03%
2013-02-21 | 88.49% | 11.49% | 2013-02-21 | 90.91% | 9.09%
2013-02-22 | 88.49% | 11.49% | 2013-02-22 | 90.91% | 9.09%
2013-02-23 | 88.49% | 11.49% | 2013-02-23 | 90.9% | 9.08%
2013-02-24 | 88.58% | 11.44% | 2013-02-24 | 90.96% | 9.07%
2013-02-25 | 88.44% | 11.57% | 2013-02-25 | 90.82% | 9.21%
2013-02-26 | 88.4% | 11.61% | 2013-02-26 | 90.91% | 9.04%
2013-02-27 | 88.28% | 11.72% | 2013-02-27 | 90.96% | 9.08%
2013-02-28 | 88.13% | 11.86% | 2013-02-28 | 90.88% | 9.17%
2013-03-01 | 88.13% | 11.86% | 2013-03-01 | 90.88% | 9.17%
2013-03-02 | 88.13% | 11.86% | 2013-03-02 | 90.88% | 9.17%
2013-03-03 | 88.09% | 11.9% | 2013-03-03 | 90.72% | 9.22%
2013-03-04 | 88.12% | 11.87% | 2013-03-04 | 91% | 9.02%
2013-03-05 | 88.18% | 11.81% | 2013-03-05 | 91.12% | 8.92%
2013-03-06 | 88.01% | 11.96% | 2013-03-06 | 91.04% | 8.98%
2013-03-07 | 88.06% | 11.97% | 2013-03-07 | 91% | 8.99%
2013-03-08 | 88.06% | 11.97% | 2013-03-08 | 91% | 8.99%
2013-03-09 | 88.06% | 11.97% | 2013-03-09 | 91% | 8.99%
2013-03-10 | 88.05% | 11.97% | 2013-03-10 | 90.64% | 9.32%
2013-03-11 | 88.01% | 11.99% | 2013-03-11 | 90.63% | 9.33%
2013-03-12 | 87.94% | 12.08% | 2013-03-12 | 90.72% | 9.35%
2013-03-13 | 87.92% | 12.1% | 2013-03-13 | 90.62% | 9.38%
2013-03-14 | 87.9% | 12.12% | 2013-03-14 | 90.66% | 9.38%
2013-03-15 | 87.9% | 12.12% | 2013-03-15 | 90.66% | 9.38%
2013-03-16 | 87.9% | 12.12% | 2013-03-16 | 90.66% | 9.38%
2013-03-17 | 87.78% | 12.21% | 2013-03-17 | 90.5% | 9.57%
2013-03-18 | 87.56% | 12.46% | 2013-03-18 | 90.13% | 9.82%
2013-03-19 | 87.47% | 12.53% | 2013-03-19 | 89.98% | 9.95%
2013-03-20 | 87.43% | 12.58% | 2013-03-20 | 89.88% | 10.08%
2013-03-21 | 87.43% | 12.54% | 2013-03-21 | 90.05% | 10.02%
2013-03-22 | 87.43% | 12.54% | 2013-03-22 | 90.05% | 10.02%
2013-03-23 | 87.43% | 12.54% | 2013-03-23 | 90.05% | 10.02%
2013-03-24 | 87.46% | 12.51% | 2013-03-24 | 90.03% | 9.95%
2013-03-25 | 87.49% | 12.54% | 2013-03-25 | 89.94% | 10.03%
2013-03-26 | 87.46% | 12.53% | 2013-03-26 | 90.01% | 10.02%
2013-03-27 | 87.49% | 12.49% | 2013-03-27 | 89.96% | 10.03%
2013-03-28 | 87.54% | 12.44% | 2013-03-28 | 89.93% | 10.03%
2013-03-29 | 87.54% | 12.44% | 2013-03-29 | 89.93% | 10.03%
2013-03-30 | 87.54% | 12.44% | 2013-03-30 | 89.93% | 10.03%
2013-03-31 | 87.6% | 12.42% | 2013-03-31 | 90.02% | 9.98%
2013-04-01 | 87.58% | 12.42% | 2013-04-01 | 90.02% | 9.984%
2013-04-02 | 87.65% | 12.35% | 2013-04-02 | 90.02% | 9.977%
2013-04-03 | 87.5% | 12.5% | 2013-04-03 | 90.03% | 9.972%
2013-04-04 | 87.49% | 12.51% | 2013-04-04 | 90.08% | 9.916%
2013-04-05 | 87.49% | 12.51% | 2013-04-05 | 90.08% | 9.916%
2013-04-06 | 87.49% | 12.51% | 2013-04-06 | 90.08% | 9.916%
2013-04-07 | 87.65% | 12.35% | 2013-04-07 | 90.53% | 9.47%
2013-04-08 | 87.65% | 12.35% | 2013-04-08 | 90.54% | 9.465%
2013-04-09 | 87.61% | 12.39% | 2013-04-09 | 90.47% | 9.533%
2013-04-10 | 87.61% | 12.39% | 2013-04-10 | 90.49% | 9.514%
2013-04-11 | 87.6% | 12.4% | 2013-04-11 | 90.48% | 9.521%
2013-04-12 | 87.6% | 12.4% | 2013-04-12 | 90.48% | 9.521%
2013-04-13 | 87.6% | 12.4% | 2013-04-13 | 90.48% | 9.521%
2013-04-14 | 87.6% | 12.4% | 2013-04-14 | 90.48% | 9.521%
2013-04-15 | 87.6% | 12.4% | 2013-04-15 | 90.48% | 9.518%
2013-04-16 | 87.59% | 12.41% | 2013-04-16 | 90.47% | 9.532%
2013-04-17 | 87.58% | 12.42% | 2013-04-17 | 90.44% | 9.555%
2013-04-18 | 87.6% | 12.4% | 2013-04-18 | 90.45% | 9.553%
2013-04-19 | 87.6% | 12.4% | 2013-04-19 | 90.45% | 9.553%
2013-04-20 | 87.6% | 12.4% | 2013-04-20 | 90.45% | 9.553%
2013-04-21 | 87.62% | 12.38% | 2013-04-21 | 90.49% | 9.505%
2013-04-22 | 87.65% | 12.35% | 2013-04-22 | 90.59% | 9.409%
2013-04-23 | 87.63% | 12.37% | 2013-04-23 | 90.6% | 9.397%
2013-04-24 | 87.66% | 12.34% | 2013-04-24 | 90.67% | 9.326%
2013-04-25 | 87.74% | 12.26% | 2013-04-25 | 90.74% | 9.263%
2013-04-26 | 87.74% | 12.26% | 2013-04-26 | 90.74% | 9.263%
2013-04-27 | 87.74% | 12.26% | 2013-04-27 | 90.74% | 9.263%
2013-04-28 | 87.76% | 12.24% | 2013-04-28 | 90.76% | 9.24%
2013-04-29 | 87.77% | 12.23% | 2013-04-29 | 90.81% | 9.193%
2013-04-30 | 87.8% | 12.2% | 2013-04-30 | 90.82% | 9.177%
2013-05-01 | 87.87% | 12.13% | 2013-05-01 | 90.88% | 9.115%
2013-05-02 | 87.99% | 12.01% | 2013-05-02 | 90.9% | 9.103%
2013-05-03 | 87.99% | 12.01% | 2013-05-03 | 90.9% | 9.103%
2013-05-04 | 87.99% | 12.01% | 2013-05-04 | 90.9% | 9.103%
2013-05-05 | 88.01% | 11.99% | 2013-05-05 | 90.95% | 9.049%
2013-05-06 | 88% | 12% | 2013-05-06 | 90.95% | 9.048%
2013-05-07 | 88.04% | 11.96% | 2013-05-07 | 91% | 8.996%
2013-05-08 | 88% | 12% | 2013-05-08 | 91.05% | 8.953%
2013-05-09 | 88% | 12% | 2013-05-09 | 90.99% | 9.006%
2013-05-10 | 88% | 12% | 2013-05-10 | 90.99% | 9.006%
2013-05-11 | 88% | 12% | 2013-05-11 | 90.99% | 9.006%
2013-05-12 | 88.01% | 11.99% | 2013-05-12 | 91% | 9.001%
2013-05-13 | 88.01% | 11.99% | 2013-05-13 | 90.96% | 9.037%
2013-05-14 | 87.99% | 12.01% | 2013-05-14 | 90.9% | 9.097%
2013-05-15 | 88.21% | 11.79% | 2013-05-15 | 90.93% | 9.074%
2013-05-16 | 88.24% | 11.76% | 2013-05-16 | 90.97% | 9.033%
2013-05-17 | 88.23% | 11.77% | 2013-05-17 | 90.95% | 9.046%
2013-05-18 | 88.23% | 11.77% | 2013-05-18 | 90.95% | 9.046%
2013-05-19 | 88.24% | 11.76% | 2013-05-19 | 90.97% | 9.029%
2013-05-20 | 88.29% | 11.71% | 2013-05-20 | 90.98% | 9.015%
2013-05-21 | 88.35% | 11.65% | 2013-05-21 | 91.17% | 8.834%
2013-05-22 | 88.42% | 11.58% | 2013-05-22 | 91.25% | 8.749%
2013-05-23 | 88.3% | 11.7% | 2013-05-23 | 90.85% | 9.148%
2013-05-24 | 88.3% | 11.7% | 2013-05-24 | 90.85% | 9.148%
2013-05-25 | 88.3% | 11.7% | 2013-05-25 | 90.85% | 9.148%
2013-05-26 | 88.3% | 11.7% | 2013-05-26 | 90.85% | 9.148%
2013-05-27 | 88.37% | 11.63% | 2013-05-27 | 90.94% | 9.06%
2013-05-28 | 88.4% | 11.6% | 2013-05-28 | 90.96% | 9.037%
2013-05-29 | 88.41% | 11.59% | 2013-05-29 | 90.95% | 9.054%
2013-05-30 | 88.42% | 11.58% | 2013-05-30 | 90.98% | 9.024%
2013-05-31 | 88.42% | 11.58% | 2013-05-31 | 90.98% | 9.024%
2013-06-01 | 88.42% | 11.58% | 2013-06-01 | 90.98% | 9.024%
2013-06-02 | 88.49% | 11.51% | 2013-06-02 | 91.11% | 8.887%
2013-06-03 | 88.46% | 11.54% | 2013-06-03 | 91.16% | 8.837%
2013-06-04 | 88.61% | 11.39% | 2013-06-04 | 91.1% | 8.896%
2013-06-05 | 88.6% | 11.4% | 2013-06-05 | 91.14% | 8.858%
2013-06-06 | 88.61% | 11.39% | 2013-06-06 | 91.24% | 8.763%
2013-06-07 | 88.61% | 11.39% | 2013-06-07 | 91.24% | 8.763%
2013-06-08 | 88.61% | 11.39% | 2013-06-08 | 91.24% | 8.763%
2013-06-09 | 88.58% | 11.42% | 2013-06-09 | 91.23% | 8.773%
2013-06-10 | 88.71% | 11.29% | 2013-06-10 | 91.49% | 8.514%
2013-06-11 | 88.71% | 11.29% | 2013-06-11 | 91.49% | 8.513%
2013-06-12 | 88.72% | 11.28% | 2013-06-12 | 91.42% | 8.579%
2013-06-13 | 88.71% | 11.29% | 2013-06-13 | 91.34% | 8.659%
2013-06-14 | 88.71% | 11.29% | 2013-06-14 | 91.34% | 8.659%
2013-06-15 | 88.71% | 11.29% | 2013-06-15 | 91.34% | 8.659%
2013-06-16 | 88.76% | 11.24% | 2013-06-16 | 91.41% | 8.587%
2013-06-17 | 88.79% | 11.21% | 2013-06-17 | 91.48% | 8.518%
2013-06-18 | 88.82% | 11.18% | 2013-06-18 | 91.46% | 8.537%
2013-06-19 | 88.77% | 11.23% | 2013-06-19 | 91.49% | 8.507%
2013-06-20 | 88.78% | 11.22% | 2013-06-20 | 91.5% | 8.498%
2013-06-21 | 88.78% | 11.22% | 2013-06-21 | 91.5% | 8.498%
2013-06-22 | 88.78% | 11.22% | 2013-06-22 | 91.5% | 8.498%
2013-06-23 | 88.77% | 11.23% | 2013-06-23 | 91.46% | 8.545%
2013-06-24 | 88.83% | 11.17% | 2013-06-24 | 91.53% | 8.472%
2013-06-25 | 88.81% | 11.19% | 2013-06-25 | 91.47% | 8.533%
2013-06-26 | 88.82% | 11.18% | 2013-06-26 | 91.48% | 8.523%
2013-06-27 | 88.84% | 11.16% | 2013-06-27 | 91.5% | 8.5%
2013-06-28 | 88.84% | 11.16% | 2013-06-28 | 91.5% | 8.5%
2013-06-29 | 88.84% | 11.16% | 2013-06-29 | 91.5% | 8.5%
2013-06-30 | 89.03% | 10.97% | 2013-06-30 | 91.55% | 8.446%
2013-07-01 | 88.97% | 11.03% | 2013-07-01 | 91.59% | 8.4%
2013-07-02 | 88.98% | 11.03% | 2013-07-02 | 91.6% | 8.4%
2013-07-03 | 88.98% | 11.03% | 2013-07-03 | 91.6% | 8.4%
2013-07-04 | 88.98% | 11.03% | 2013-07-04 | 91.6% | 8.4%
2013-07-05 | 88.98% | 11.03% | 2013-07-05 | 91.6% | 8.4%
2013-07-06 | 88.98% | 11.03% | 2013-07-06 | 91.6% | 8.4%
2013-07-07 | 88.89% | 11.1% | 2013-07-07 | 91.63% | 8.38%
2013-07-08 | 88.83% | 11.15% | 2013-07-08 | 91.5% | 8.5%
2013-07-09 | 88.91% | 11.09% | 2013-07-09 | 91.48% | 8.49%
2013-07-10 | 88.91% | 11.09% | 2013-07-10 | 91.48% | 8.49%
2013-07-11 | 88.92% | 11.06% | 2013-07-11 | 91.57% | 8.41%
2013-07-12 | 88.92% | 11.06% | 2013-07-12 | 91.57% | 8.41%
2013-07-13 | 88.92% | 11.06% | 2013-07-13 | 91.57% | 8.41%
2013-07-14 | 88.97% | 11.04% | 2013-07-14 | 91.6% | 8.42%
2013-07-15 | 88.93% | 11.07% | 2013-07-15 | 91.52% | 8.51%
2013-07-16 | 88.9% | 11.09% | 2013-07-16 | 91.66% | 8.33%
2013-07-17 | 88.85% | 11.13% | 2013-07-17 | 91.72% | 8.28%
2013-07-18 | 88.9% | 11.11% | 2013-07-18 | 91.69% | 8.36%
2013-07-19 | 88.9% | 11.11% | 2013-07-19 | 91.69% | 8.36%
2013-07-20 | 88.9% | 11.11% | 2013-07-20 | 91.69% | 8.36%
2013-07-21 | 88.84% | 11.16% | 2013-07-21 | 91.74% | 8.32%
2013-07-22 | 88.92% | 11.1% | 2013-07-22 | 91.76% | 8.26%
2013-07-23 | 88.95% | 11.06% | 2013-07-23 | 91.81% | 8.18%
2013-07-24 | 88.98% | 11% | 2013-07-24 | 91.86% | 8.15%
2013-07-25 | 88.94% | 11.06% | 2013-07-25 | 91.58% | 8.38%
2013-07-26 | 88.94% | 11.06% | 2013-07-26 | 91.58% | 8.38%
2013-07-27 | 88.94% | 11.06% | 2013-07-27 | 91.58% | 8.38%
2013-07-28 | 88.94% | 11.06% | 2013-07-28 | 91.58% | 8.36%
2013-07-29 | 88.93% | 11.08% | 2013-07-29 | 91.58% | 8.36%
2013-07-30 | 88.9% | 11.08% | 2013-07-30 | 91.65% | 8.37%
2013-07-31 | 88.91% | 11.06% | 2013-07-31 | 91.64% | 8.38%
2013-08-01 | 88.93% | 11.07% | 2013-08-01 | 91.69% | 8.31%
2013-08-02 | 88.93% | 11.07% | 2013-08-02 | 91.69% | 8.31%
2013-08-03 | 88.93% | 11.07% | 2013-08-03 | 91.69% | 8.31%
2013-08-04 | 88.82% | 11.18% | 2013-08-04 | 91.53% | 8.48%
2013-08-05 | 88.82% | 11.2% | 2013-08-05 | 91.58% | 8.46%
2013-08-06 | 88.82% | 11.18% | 2013-08-06 | 91.53% | 8.44%
2013-08-07 | 88.86% | 11.15% | 2013-08-07 | 91.52% | 8.43%
2013-08-08 | 88.87% | 11.14% | 2013-08-08 | 91.48% | 8.5%
2013-08-09 | 88.87% | 11.14% | 2013-08-09 | 91.48% | 8.5%
2013-08-10 | 88.87% | 11.14% | 2013-08-10 | 91.48% | 8.5%
2013-08-11 | 88.85% | 11.15% | 2013-08-11 | 91.54% | 8.51%
2013-08-12 | 88.84% | 11.15% | 2013-08-12 | 91.54% | 8.51%
2013-08-13 | 88.84% | 11.14% | 2013-08-13 | 91.48% | 8.5%
2013-08-14 | 88.87% | 11.14% | 2013-08-14 | 91.52% | 8.48%
2013-08-15 | 88.84% | 11.15% | 2013-08-15 | 91.49% | 8.48%
2013-08-16 | 88.84% | 11.15% | 2013-08-16 | 91.49% | 8.48%
2013-08-17 | 88.84% | 11.15% | 2013-08-17 | 91.49% | 8.48%
2013-08-18 | 88.86% | 11.15% | 2013-08-18 | 91.51% | 8.48%
2013-08-19 | 88.82% | 11.18% | 2013-08-19 | 91.52% | 8.52%
2013-08-20 | 88.84% | 11.17% | 2013-08-20 | 91.46% | 8.54%
2013-08-21 | 88.82% | 11.18% | 2013-08-21 | 91.47% | 8.58%
2013-08-22 | 88.83% | 11.17% | 2013-08-22 | 91.36% | 8.67%
2013-08-23 | 88.83% | 11.17% | 2013-08-23 | 91.36% | 8.67%
2013-08-24 | 88.83% | 11.17% | 2013-08-24 | 91.36% | 8.67%
2013-08-25 | 88.87% | 11.15% | 2013-08-25 | 91.32% | 8.62%
2013-08-26 | 88.84% | 11.18% | 2013-08-26 | 91.4% | 8.64%
2013-08-27 | 88.71% | 11.28% | 2013-08-27 | 91.13% | 8.82%
2013-08-28 | 88.67% | 11.33% | 2013-08-28 | 91.19% | 8.82%
2013-08-29 | 88.72% | 11.3% | 2013-08-29 | 91.21% | 8.84%
2013-08-30 | 88.72% | 11.3% | 2013-08-30 | 91.21% | 8.84%
2013-08-31 | 88.72% | 11.3% | 2013-08-31 | 91.21% | 8.84%
2013-09-01 | 88.72% | 11.3% | 2013-09-01 | 91.21% | 8.84%
2013-09-02 | 88.74% | 11.24% | 2013-09-02 | 91.31% | 8.72%
2013-09-03 | 88.79% | 11.2% | 2013-09-03 | 91.28% | 8.7%
2013-09-04 | 88.77% | 11.23% | 2013-09-04 | 91.23% | 8.76%
2013-09-05 | 88.81% | 11.2% | 2013-09-05 | 91.27% | 8.75%
2013-09-06 | 88.81% | 11.2% | 2013-09-06 | 91.27% | 8.75%
2013-09-07 | 88.81% | 11.2% | 2013-09-07 | 91.27% | 8.75%
2013-09-08 | 88.81% | 11.18% | 2013-09-08 | 91.27% | 8.74%
2013-09-09 | 88.8% | 11.19% | 2013-09-09 | 91.21% | 8.75%
2013-09-10 | 88.77% | 11.26% | 2013-09-10 | 91.13% | 8.87%
2013-09-11 | 88.73% | 11.24% | 2013-09-11 | 91.1% | 8.87%
2013-09-12 | 88.75% | 11.26% | 2013-09-12 | 91.11% | 8.85%
2013-09-13 | 88.75% | 11.26% | 2013-09-13 | 91.11% | 8.85%
2013-09-14 | 88.75% | 11.26% | 2013-09-14 | 91.11% | 8.85%
2013-09-15 | 88.79% | 11.23% | 2013-09-15 | 91.24% | 8.8%
2013-09-16 | 88.76% | 11.22% | 2013-09-16 | 91.22% | 8.81%
2013-09-17 | 88.77% | 11.21% | 2013-09-17 | 91.13% | 8.83%
2013-09-18 | 88.84% | 11.18% | 2013-09-18 | 91.24% | 8.78%
2013-09-19 | 88.82% | 11.16% | 2013-09-19 | 91.24% | 8.76%
2013-09-20 | 88.82% | 11.16% | 2013-09-20 | 91.24% | 8.76%
2013-09-21 | 88.82% | 11.16% | 2013-09-21 | 91.24% | 8.76%
2013-09-22 | 88.8% | 11.18% | 2013-09-22 | 91.23% | 8.76%
2013-09-23 | 88.79% | 11.23% | 2013-09-23 | 91.23% | 8.81%
2013-09-24 | 88.74% | 11.24% | 2013-09-24 | 91.13% | 8.84%
2013-09-25 | 88.72% | 11.27% | 2013-09-25 | 91.08% | 8.89%
2013-09-26 | 88.86% | 11.16% | 2013-09-26 | 91.08% | 8.95%
2013-09-27 | 88.86% | 11.16% | 2013-09-27 | 91.08% | 8.95%
2013-09-28 | 88.86% | 11.16% | 2013-09-28 | 91.08% | 8.95%
2013-09-29 | 88.85% | 11.15% | 2013-09-29 | 91.07% | 8.95%
2013-09-30 | 88.84% | 11.18% | 2013-09-30 | 91.04% | 8.99%
2013-10-01 | 0.8884 | 0.1116 | 2013-10-01 | 0.9103 | 0.0897
2013-10-02 | 0.8891 | 0.1109 | 2013-10-02 | 0.9125 | 0.0875
2013-10-03 | 0.8892 | 0.1108 | 2013-10-03 | 0.9122 | 0.0878
2013-10-04 | 0.8892 | 0.1108 | 2013-10-04 | 0.9122 | 0.0878
2013-10-05 | 0.8892 | 0.1108 | 2013-10-05 | 0.9122 | 0.0878
2013-10-06 | 0.8892 | 0.1108 | 2013-10-06 | 0.9121 | 0.0879
2013-10-07 | 0.8888 | 0.1112 | 2013-10-07 | 0.9116 | 0.0884
2013-10-08 | 0.8885 | 0.1115 | 2013-10-08 | 0.9122 | 0.0878
2013-10-09 | 0.8868 | 0.1132 | 2013-10-09 | 0.9093 | 0.0907
2013-10-10 | 0.8872 | 0.1128 | 2013-10-10 | 0.9094 | 0.0906
2013-10-11 | 0.8872 | 0.1128 | 2013-10-11 | 0.9094 | 0.0906
2013-10-12 | 0.8872 | 0.1128 | 2013-10-12 | 0.9094 | 0.0906
2013-10-13 | 0.8872 | 0.1128 | 2013-10-13 | 0.9094 | 0.0906
2013-10-14 | 0.8872 | 0.1128 | 2013-10-14 | 0.9098 | 0.0902
2013-10-15 | 0.8873 | 0.1127 | 2013-10-15 | 0.9099 | 0.0901
2013-10-16 | 0.8881 | 0.1119 | 2013-10-16 | 0.9098 | 0.0902
2013-10-17 | 0.8882 | 0.1118 | 2013-10-17 | 0.9098 | 0.0902
2013-10-18 | 0.8882 | 0.1118 | 2013-10-18 | 0.9098 | 0.0902
2013-10-19 | 0.8882 | 0.1118 | 2013-10-19 | 0.9098 | 0.0902
2013-10-20 | 0.8881 | 0.1119 | 2013-10-20 | 0.9099 | 0.0901
2013-10-21 | 0.8891 | 0.1109 | 2013-10-21 | 0.9101 | 0.0899
2013-10-22 | 0.8889 | 0.1111 | 2013-10-22 | 0.9099 | 0.0901
2013-10-23 | 0.8891 | 0.1109 | 2013-10-23 | 0.911 | 0.089
2013-10-24 | 0.8893 | 0.1107 | 2013-10-24 | 0.9117 | 0.0883
2013-10-25 | 0.8893 | 0.1107 | 2013-10-25 | 0.9117 | 0.0883
2013-10-26 | 0.8893 | 0.1107 | 2013-10-26 | 0.9117 | 0.0883
2013-10-27 | 0.8914 | 0.1086 | 2013-10-27 | 0.9116 | 0.0884
2013-10-28 | 0.891 | 0.109 | 2013-10-28 | 0.9114 | 0.0886
2013-10-29 | 0.8913 | 0.1087 | 2013-10-29 | 0.9122 | 0.0878
2013-10-30 | 0.8911 | 0.1089 | 2013-10-30 | 0.9119 | 0.0881
2013-10-31 | 0.8908 | 0.1092 | 2013-10-31 | 0.9116 | 0.0884
2013-11-01 | 0.8908 | 0.1092 | 2013-11-01 | 0.9116 | 0.0884
2013-11-02 | 0.8908 | 0.1092 | 2013-11-02 | 0.9116 | 0.0884
2013-11-03 | 0.8908 | 0.1092 | 2013-11-03 | 0.9116 | 0.0884
2013-11-04 | 0.8918 | 0.1082 | 2013-11-04 | 0.9133 | 0.0867
2013-11-05 | 0.892 | 0.108 | 2013-11-05 | 0.9133 | 0.0867
2013-11-06 | 0.8919 | 0.1081 | 2013-11-06 | 0.9133 | 0.0867
2013-11-07 | 0.8916 | 0.1084 | 2013-11-07 | 0.9131 | 0.0869
2013-11-08 | 0.8916 | 0.1084 | 2013-11-08 | 0.9131 | 0.0869
2013-11-09 | 0.8916 | 0.1084 | 2013-11-09 | 0.9131 | 0.0869
2013-11-10 | 0.8916 | 0.1084 | 2013-11-10 | 0.9131 | 0.0869
2013-11-11 | 0.8915 | 0.1085 | 2013-11-11 | 0.9129 | 0.0871
2013-11-12 | 0.8914 | 0.1086 | 2013-11-12 | 0.9129 | 0.0871
2013-11-13 | 0.8914 | 0.1086 | 2013-11-13 | 0.913 | 0.087
2013-11-14 | 0.8919 | 0.1081 | 2013-11-14 | 0.9123 | 0.0877
2013-11-15 | 0.8919 | 0.1081 | 2013-11-15 | 0.9122 | 0.0878
2013-11-16 | 0.8919 | 0.1081 | 2013-11-16 | 0.9122 | 0.0878
2013-11-17 | 0.8916 | 0.1084 | 2013-11-17 | 0.9115 | 0.0885
2013-11-18 | 0.8913 | 0.1087 | 2013-11-18 | 0.9111 | 0.0889
2013-11-19 | 0.8909 | 0.1091 | 2013-11-19 | 0.91 | 0.09
2013-11-20 | 0.8907 | 0.1093 | 2013-11-20 | 0.91 | 0.09
2013-11-21 | 0.89 | 0.11 | 2013-11-21 | 0.9102 | 0.0898
2013-11-22 | 0.89 | 0.11 | 2013-11-22 | 0.9101 | 0.0898
2013-11-23 | 0.89 | 0.11 | 2013-11-23 | 0.9101 | 0.0898
2013-11-24 | 0.8892 | 0.1108 | 2013-11-24 | 0.9081 | 0.0919
2013-11-25 | 0.8884 | 0.1116 | 2013-11-25 | 0.9086 | 0.0914
2013-11-26 | 0.888 | 0.112 | 2013-11-26 | 0.9084 | 0.0916
2013-11-27 | 0.888 | 0.112 | 2013-11-27 | 0.9084 | 0.0916
2013-11-28 | 0.888 | 0.112 | 2013-11-28 | 0.9084 | 0.0916
2013-11-29 | 0.888 | 0.112 | 2013-11-29 | 0.9084 | 0.0916
2013-11-30 | 0.888 | 0.112 | 2013-11-30 | 0.9084 | 0.0916
2013-12-01 | 0.8878 | 0.1122 | 2013-12-01 | 0.9082 | 0.0918
2013-12-02 | 0.8886 | 0.1114 | 2013-12-02 | 0.9106 | 0.0894
2013-12-03 | 0.8905 | 0.1095 | 2013-12-03 | 0.9134 | 0.0866
2013-12-04 | 0.8904 | 0.1096 | 2013-12-04 | 0.9134 | 0.0866
2013-12-05 | 0.8898 | 0.1102 | 2013-12-05 | 0.9108 | 0.0892
2013-12-06 | 0.8898 | 0.1102 | 2013-12-06 | 0.9108 | 0.0892
2013-12-07 | 0.8898 | 0.1102 | 2013-12-07 | 0.9108 | 0.0892
2013-12-08 | 0.8896 | 0.1104 | 2013-12-08 | 0.9106 | 0.0894
2013-12-09 | 0.8895 | 0.1105 | 2013-12-09 | 0.91 | 0.09
2013-12-10 | 0.8897 | 0.1103 | 2013-12-10 | 0.9106 | 0.0894
2013-12-11 | 0.8894 | 0.1106 | 2013-12-11 | 0.9104 | 0.0896
2013-12-12 | 0.8895 | 0.1105 | 2013-12-12 | 0.9104 | 0.0896
2013-12-13 | 0.8895 | 0.1105 | 2013-12-13 | 0.9104 | 0.0896
2013-12-14 | 0.8895 | 0.1105 | 2013-12-14 | 0.9104 | 0.0896
2013-12-15 | 0.8895 | 0.1105 | 2013-12-15 | 0.9112 | 0.0888
2013-12-16 | 0.8899 | 0.1101 | 2013-12-16 | 0.9117 | 0.0883
2013-12-17 | 0.8896 | 0.1104 | 2013-12-17 | 0.9014 | 0.0986
2013-12-18 | 0.8894 | 0.1106 | 2013-12-18 | 0.8955 | 0.1045
2013-12-19 | 0.8885 | 0.1115 | 2013-12-19 | 0.8937 | 0.1063
2013-12-20 | 0.8885 | 0.1115 | 2013-12-20 | 0.8937 | 0.1063
2013-12-21 | 0.8885 | 0.1115 | 2013-12-21 | 0.8937 | 0.1063
2013-12-22 | 0.8878 | 0.1122 | 2013-12-22 | 0.8951 | 0.1049
2013-12-23 | 0.8879 | 0.1121 | 2013-12-23 | 0.8965 | 0.1035
2013-12-24 | 0.8879 | 0.1121 | 2013-12-24 | 0.8965 | 0.1035
2013-12-25 | 0.8879 | 0.1121 | 2013-12-25 | 0.8965 | 0.1035
2013-12-26 | 0.8869 | 0.1131 | 2013-12-26 | 0.8948 | 0.1052
2013-12-27 | 0.8869 | 0.1131 | 2013-12-27 | 0.8948 | 0.1052
2013-12-28 | 0.8869 | 0.1131 | 2013-12-28 | 0.8948 | 0.1052
2013-12-29 | 0.885 | 0.115 | 2013-12-29 | 0.8922 | 0.1078
2013-12-30 | 0.8849 | 0.1151 | 2013-12-30 | 0.8926 | 0.1074
2013-12-31 | 0.8849 | 0.1151 | 2013-12-31 | 0.8926 | 0.1074