02		DEPARTMENT OF PROFESSIONAL AND FINANCIAL REGULATION

174		BOARD OF BOILERS AND PRESSURE VESSELS

Chapter 11:	NATIONAL CODES APPLICABLE TO BOILERS AND PRESSURE VESSELS

Summary: This Chapter specifies the national safety codes and standards that apply to boilers and pressure vessels regulated in the State of Maine. Additional requirements are contained in Title 32, Chapter 131, and in other chapters of these rules.

# 1.	Adoption of Codes

The Board adopts, and incorporates in this Chapter, the standards of the following national codes to govern construction, installation, inspection, operation, and alteration and repair of boilers and pressure vessels:

A.	ASME Boiler and Pressure Vessel Code (2004 Edition), with the exception of Sections III and XI;

B.	ASME Pressure Piping Code B31.1 (2004 Edition);

C.	National Board Inspection Code, ANSI/NB-23 (2001 Edition, 2001, 2002, 2003 addendum);

- ASME Controls and Safety Devices for Automatically Fired Boilers (CSD-1) (2002 Edition), with the exception of Part CF; and

E.	TAPPI, Technical Information Paper 0402-16, 2001 revision, Guidelines for inspection and nondestructive examination of paper machine dryers.

NOTE: Part CF, “Combustion Side Controls,” is an adopted standard of the Oil and Solid Fuel Board and the Propane and Natural Gas Board.

2.	Exceptions

A.	Notwithstanding the provisions of Section 1, Paragraphs A and B, boilers and pressure vessels existing as of the effective date of this Chapter must:

(1)	At a minimum, be maintained in accordance with the code of construction in effect at the time of installation; or

(2)	Comply with the applicable current standard in Section 1 of this Chapter.

B.	The Board adopts the National Board Inspection Code, ANSI/NB23 with the exception of RC-2031(a)(1-4), “Routine Repairs.” For information regarding repairs refer to Chapter 15 of these rules.

3.	Conflicts

When a rule in another Chapter refers to a national code, the reference is to the edition of the code, addendum, and/or appendix adopted in this Chapter. In the event of a conflict between a standard in a national code and the provision of a Maine statute or the Board’s rules, the provision of the Maine statute or the Board’s rules governs.

# NOTE:

Copies of the ASME Codes may be purchased from:

# The American Society of Mechanical Engineers

ASME SERVICE CENTER

22 Law Drive, Box 2900

Fairfield, NJ 07007-2900

Tel. 1-800-843-2763

www.asme.org

Copies of the National Board Inspection Code may be purchased from:

# The National Board of Boiler and Pressure Vessel Inspectors

1055 Crupper Avenue

Columbus, Ohio 43229

Tel. 614-888-8320

www.nationalboard.org

Copies of TAPPI may be purchased from:

TAPPI

P.O. Box 105113

Atlanta, GA 30348-5113

Tel. 1-800-332-8686

www.tappi.org

# AUTHORITY: 	32 M.R.S.A. § 15104-A

# REPEALED AND REPLACED:

January 15, 2005 –	filing 2005-20 repealed old Chapter 11

filing 2005-21 adopted new Chapter 11